Ethidium Bromide

STANDARD OPERATING PROCEDURE:

CAS Number: 1239-45-8; UN 2811

Synonyms: EtBr, Phenanthridinium, homidium bromide, 1,7-diamino-10-ethyl-9-phenylphenanthridinium bromide, 3,8-diamino-5-ethyl-6-phenyl-bromide

Circumstances of Use:

This is to be determined by the principle investigator.

Description of Material:

Ethidium bromide is an intercalating agent commonly used as a fluorescent tag. It physically appears as red to brown crystals. When exposed to ultraviolent light, it will fluoresce with an orange color, intensifying almost 20-fold after to binding to DNA. This substance reacts violently when exposed to flames and strong oxidants. The substance decomposes upon heating to produce toxic gases including hydrogen bromide and nitrogen oxides.

Potential Hazards

Ethidium bromide may be a mutagen, carcinogen, or teratogen. It is absorbed in the body by inhalation and ingestion. This substance is also combustible. Ethidium bromide decomposes on heading producing toxic gases including hydrogen bromide and nitrogen oxides. It reacts violently with strong oxidants. A harmful concentration of airborne particles can be reached quickly when dispersed, especially if powdered. Eye: Ethidium bromide is irritating to the eyes causing pain and redness. Skin: Inflammation and discoloration of the skin may occur after contact. Contact will stain the skin purple. Ethidium bromide can be harmful, and potentially fatal, if absorbed through the skin. Ingestion: Consumption is harmful and can result in sore throat. Inhalation: This substance is irritating to the respiratory tract. It is very toxic by inhalation. A harmful concentration of airborne particles can be reached quickly when dispersed, especially if powdered. Chronic: As stated previously, ethidium bromide has the potential to be a mutagen, carcinogen, and teratogen. It is considered a mutagen because it intercalates the double stranded DNA, thus deforming the genetic material.

Engineering Controls:

Facilities storing or using this material should be equipped with an eyewash facility and safety shower. Emergency eyewash and safety shower services should be compliant with ANSI Z358.1-2004. Ethidium bromide must be handled / used in a chemical fume hood or other adequate source of local exhaust ventilation to keep airborne concentrations below the permissible exposure limits. Due to the potential harm inhalation of this material may cause, the ASU Department of Environmental Health & Safety (EH&S) may perform air sampling to verify exposure control methods are adequate in order to prevent exposure and odor complains.

Work Practice Controls:

Always use the buddy system when working in the laboratory. Remove all sources of ignition and incompatibilities. Separate from strong oxidants, food, and feed stuffs. Wash thoroughly after handling. Remove contaminated clothing and wash before reuse. Bond and ground containers to avoid electrical sparks during transfers.

Personal Protective Equipment (PPE):

Standard laboratory clothing requirements apply (long pants, close-toe shoes, etc.). Nitrile laboratory gloves under butyl rubber gloves and a fully buttoned lab coat with sleeves extending to the wrists should be worn when transporting, handling and pouring ethidium bromide and any time contact with ethidium bromide may occur.

Transportation and Storage:

Avoid dust formation, oxidizing materials, and control ignition sources. When transporting a container of ethidium bromide, use of a bottle carrier is mandatory. Keep container tightly closed when not in use. Secondary containment required in storage. Employ grounding, venting and explosion relief provisions in accord with the accepted engineering practices in any process capable of generating dust and/or static electricity. Empty only into inert or non-flammable atmosphere where flammable vapors may be present could cause a flash fire or explosion due to electrostatic discharge. Store in a cool, dry, well-ventilated area away from incompatible substances.

Waste Disposal:

Pick up and arrange disposal without creating dust. Hazardous waste shall be collected in an approved waste container. Hazardous waste containers ready for pick-up shall have a properly completed ASU Hazardous Waste tag attached prior to completing an online waste pick up request using the following web link: https://ehsaweb.asu.edu/ehsawebisapi.dll/EXEC. Empty containers retain product residue (liquid and/or vapor), and shall be submitted for waste pick-up following the ASU Hazardous Waste Management policy. Do not pressurize, cut, weld, braze, solder, drill, grind, or expose empty containers to heat, sparks, or open flames.

Exposures / Unintended Contact:

If skin or clothing contact is suspected, follow the ASU Emergency Response Guide for “Chemical Spill on Body” in the Hazardous Materials Incident section. More from the medical staff at ASU Student Health after we review the CDC recommendations.

Spill Clean-up Procedure:

Sweep spilled substance into sealable containers. Then wash away with plenty of water. Follow the posted ASU Emergency Response Guide for “Hazardous Materials Incident”. Immediately clean-up any small spill and collect absorbent materials as hazardous waste in a sealed bag or other container, attach a completed hazardous waste tag, and submit a request for waste pick-up using the link provided in the preceding “Waste Disposal” section. DO NOT ALLOW ANYTHING TO DISCHARGE INTO DRAINS. If skin or clothing contact is suspected, follow the ASU Emergency Response Guide for “Chemical Spill on Body” in the Hazardous Materials Incident section.

Training of Personnel:

All personnel must complete the EH&S sponsored Fire Safety & Prevention, Laboratory Safety, and Hazardous Waste Management training prior to working in any ASU laboratory. All personnel shall read and fully adhere to this SOP for safe handling of ethidium bromide, the Centers for Disease Control Medical Response to ethidium bromide. Exposure guide, and shall document their understanding by signing and dating the SOP.